This document contains Omega Products International’s specification for the Diamond Wall Pro One Coat System.  The Diamond Wall Pro System offers an upgrade to current one coat stucco systems by providing improved crack resistance, flexural and tensile strength, and impact resistance.  The Diamond Wall Pro One Coat System is available as an insulated or non-insulated system.  The insulated system is comprised of an approved water-resistive barrier, optional sheathing, foam insulation board, metal lath, Diamond Wall Pro base coat, and a finish coat.   While the non-insulated system is comprised of sheathing, an approved water-resistive barrier, metal lath, Diamond Wall Pro base coat, and a finish coat.

The specification is intended to be tailored by the design professional to suit the project requirements and follows the Construction Specification Institute’s MasterFormat (2016 Ed.) and SectionFormat (2009 Ed.).  There are locations where information needs to be added or deleted depending upon project needs.  These locations are indicated using the following formatting:

OP913

Diamond Wall Pro One Coat System Specification

Mar 2023

[Notes]	Notes that provide instructions or guidance.  These should be deleted when no longer needed.

[Options]	Possible options for the system.  Choose one, or in some cases more than one can be selected, and delete the remaining options.  Delete the brackets and un-bold the selected option(s).

<Text>	Locations where text needs to be inserted.

This specification should be used along with other Diamond Wall documentation, including the standard system details (DWI and/or DWS), system data sheets, Intertek CCRR-0467 report, and individual product data sheets.  Please visit www.omega-products.com to obtain these documents and for additional information on the Diamond Wall One Coat Stucco systems.

SECTION 09 24 00 – DIAMOND WALL PRO ONE COAT STUCCO

PART 1- GENERAL

- SUMMARY

  - Section Includes:  Work includes all labor, materials, and equipment necessary to install all aspects of the Diamond Wall Pro One Coat Stucco System.

  - Related Sections [Delete unneeded sections]

    - 05 40 00 – Light gauge cold-formed steel framing

    - 06 11 00 – Wood Framed Construction

    - 06 16 00 – Sheathing

    - 07 90 00 – Joint Sealers

    - 09 29 00 – Gypsum Board

    - REFERENCES [Delete unneeded references]

  - ASTM C150 – Portland Cement

  - ASTM C79/C1396 - Gypsum Sheathing

  - ASTM A641 - Zinc-Coated (Galvanized) Carbon Steel Wire

  - ASTM C847 - Standard Specification for Metal Lath

  - ASTM C897/C144 - Aggregate for Job-Mixed Portland Cement-Based Plaster

  - ASTM C578 - Rigid, Cellular Polystyrene Thermal Insulation

  - ASTM C1289 - Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

  - ASTM C1032 - Woven Wire Plaster Base

  - ASTM C933 - Welded Wire Lath

  - ASTM C1177 - Glass Mat Gypsum Substrate for Use as Sheathing

  - ASTM C1278 - Fiber-Reinforced Gypsum Panel

  - ASTM C208 - Cellulosic Fiber Insulating Board

  - ASTM C834 - Latex Sealants

  - ASTM C920 - Elastomeric Joint Sealants

  - Intertek CCRR-0467 – Diamond Wall Report

  - ICC-ES Acceptance Criteria for Water-resistive Barriers (AC38)

  - Omega Diamond Wall Insulating One Coat Systems Details (DWI)

  - Omega Diamond Wall One Coat Systems Details (DWS)

  - system description

  - General:  The Diamond Wall Pro One Coat System is an exterior stucco system and is comprised of an approved water-resistive barrier, optional sheathing, optional foam insulation board, metal lath, Diamond Wall Pro base coat, and a finish coat.

  - Application Methods:  The Diamond Wall systems are applied directly to a structure at the construction site or may be applied to prefabricated panels.

  - submittals

  - Product Data:  All product data sheets, evaluation reports, details, and warranty information that pertain to the project in accordance with Section 01 30 00 Submittal Procedures.

  - Samples:  Submitted upon request.

    - Samples of the finish coat shall be of an adequate size as required to represent each color and texture to be utilized on the project and produced using the same techniques and tools required to complete the project.

    - Retain approved samples at the construction site throughout the application process.

    - Quality Assurance

  - Qualifications:

    - Manufacturer:  System component materials shall be manufactured or approved by Omega Products International and shall be distributed by the same or it’s authorized dealers.

  - Plastering Contractor:

    - Shall specialize in cement plasterwork with documented experience.

    - Shall Provide proof of current contractor’s license and bond where required.

    - Shall show proof of current Approved Applicator Certificate issued by Omega Products International

  - On-Site Mockups:  Produced upon request.

    - Prior to commencement of work, provide a mockup for approval.

    - Mockup suitable to represent the products to be installed for each color and texture constructed using the same tools and techniques to be utilized on the project.

    - Retain approved mockup at job site throughout the application process.

      - Where acceptable to the architect, approved mockups may become part of the completed work if undisturbed at time of substantial completion.

      - DELIVERY, STORAGE, AND HANDLING

  - Delivery:  Deliver all materials to the construction site in their original, unopened packaging with labels intact.

  - Inspection:  Inspect the materials upon delivery to ensure that specified products have been received.  Report defects or discrepancies to the responsible party according to the construction documents; do not use reported material for application.

  - Storage:  Store all products per manufacturer’s recommendations.  Generally, store materials in a cool, dry location; away from direct contact with the ground and/or concrete; out of direct sunlight; and protect from weather and other damage.

  - Project Conditions

  - Environmental Requirements:  Follow product manufacturer's recommendations for environmental conditions and surface preparation.

    - Temperatures:  Before, during and following the application of the Diamond Wall Three Coat System, the ambient and surface temperatures must remain above 40°F (4°C) for a minimum period of 24 hours.   Protect stucco from uneven and excessive evaporation, especially during hot, dry, and/or windy weather.   Protect Diamond Wall stucco from freezing for a period of not less than 24 hours after set has occurred.  [To ensure proper hydration in cold weather applications (approximately 50ºF to 32ºF) use OmegaCure admix.  Delete the option not used.]

    - Substrates:  Prior to installation, inspect the wall for surface contamination or other defects that may adversely affect the performance of the materials and shall be free of residual moisture.  Do not apply Diamond Wall stucco to substrates whose temperatures are less than 40°F (4°C) or contain frost or ice.

    - Inclement Weather:  Protect applied material from inclement weather until dry.

  - Existing Conditions:

    - Jobsite Resources:  Provide access to electrical outlets, clean, potable water, and a suitable work area at the construction site throughout the application of the Diamond Wall Pro One Coat System.

    - Sequencing and Scheduling

  - Sequencing:  Coordinate the installation of the Diamond Wall Pro One Coat System with all other construction trades.  To reduce the likelihood of the stucco cracking, it is recommended the building carry a minimum of 90 percent of the dead building load and the interior gypsum be installed prior to installation of the stucco.

  - Staffing:  Provide sufficient manpower to ensure continuous operation, free of cold joints, scaffolding lines, variations in texture, etc.

  - Warranty

  - System Warranty:  Submit documentation on Diamond Wall’s standard system warranties.  At completion of work, provide written system warranty documentation.

  - Warranty Length: [Seven (7)] [Ten (10)] [Twelve (12)] [Thirteen (13)] [Fifteen (15)] [Seventeen (17)] [Twenty (20)] years commencing at the time of substantial completion.  [See Omega Product’s System Warranties for more information.  The warranty length depends upon the combination of products used in the system.]

  - Maintenance

  - The following materials shall be presented to the owner following the application of the Diamond Wall Pro One Coat System:

    - One container of finish for each color and texture utilized on the project.

    - A maintenance program for finishes as required.

PART 2 - PRODUCTS

- Manufacturers

- Acceptable Manufacturer: Omega Products International

- One coat Stucco Base Coat

- [[Diamond Wall Pro is available in a concentrate or sanded.  Delete the option not used.]

- [Diamond Wall Pro Concentrate:  A factory-prepared blend of cement, chopped fibers, and proprietary ingredients manufactured by Omega Products International]

- [Diamond Wall Pro Sanded:  A factory-prepared blend of cement, sand, chopped fibers, and proprietary ingredients manufactured by Omega Products International]

- Sand: [Delete this section if Diamond Wall Sanded is used]

    - Sand must be clean and free from deleterious amounts of loam, clay, silt, soluble salts and organic matter.

    - Sampling and testing must comply with ASTM C144 or C897.

    - Sand must be graded in accordance with ASTM C144 or C897 or within the following limits:

| RETAINED ON U.S. STANDARD SIEVE | PERCENT RETAINED BY WEIGHT ± 2 PERCENT |  |
| --- | --- | --- |
|  | Natural Sand | Manufactured Sand |
|  | Min. / Max | Min. / Max. |
| No. 4 | 0 / 0 | 0 / 0 |
| No. 8 | 0 /10 | 0 / 10 |
| No. 16 | 10 / 40 | 10 / 40 |
| No. 30 | 30 / 65 | 30 / 65 |
| No. 50 | 70 / 90 | 60/80 |
| No. 100 | 95 / 100 | 75/90 |

- Water:  Clean and potable without foreign matter.

- WATER-Resistive Barrier

[Delete the options that are not used in the project.  Choose the WRB option.]

- Over Open Framing [and non-Wood-based Sheathing]:

- [One layer of D kraft building paper complying with UBC Standard 14-1.]

- [One layer of asphalt-saturated felt complying with ASTM D226 Type I.]

- [Equivalent material recognized in a current evaluation report as complying with the ICC-ES Acceptance Criteria for Water-resistive Barriers (AC38).]

- [AkroGuard: Acrylic-based, vapor-permeable water-resistive/air barrier coating manufactured by Omega Products International] [Cannot be used over open framing]

- Over Wood-based Sheathing:

- [Two layers of D kraft building paper complying with UBC Standard 14-1.]

- [Two layers of asphalt-saturated felt complying with ASTM D226 Type I.]

- [Double layer of equivalent material recognized in a current evaluation report as complying with the ICC-ES Acceptance Criteria for Water-resistive Barriers (AC38).]

- [AkroGuard: Acrylic-based, vapor-permeable water-resistive/air barrier coating manufactured by Omega Products International]

- Over Wood-based Sheathing with Tongue and Groove Foam Board:

- [Two layers of D kraft building paper complying with UBC Standard 14-1.]

- [Two layers of asphalt-saturated felt complying with ASTM D226 Type I.]

- [One layer of 60 minute moisture resistance rated Grade D asphalt saturated Kraft building paper complying with UBC Standard 14-1.]

- [Equivalent material recognized in a current evaluation report as complying with the ICC-ES Acceptance Criteria for Water-resistive Barriers (AC38).]

- [AkroGuard: Acrylic-based, vapor-permeable water-resistive/air barrier coating manufactured by Omega Products International]

- Insulation Board:

- [Choose one of the following insulation board options and delete the others.  Delete this section if only the non-insulating system is being used.] DiamondWallPro_PDS

- [Expanded Polystyrene Insulation Board (EPS):

    - Open Framing:  EPS board has a nominal density of 1.5 lbs per cubic foot, a flame-spread of 25 or less and a smoke developed rating not exceeding 450 and must comply with ASTM C578, as Type II boards.  Boards installed without sheathing over open framing are [1-inch (2.5 mm)] [1-1/2-inches (3.8 mm)] thick and are provided with 3/8-inch-high (9.5 mm) tongues with compatible grooves with horizontal joints.  All boards must be recognized in an approved, current third-party evaluation report.

    - Over Solid Substrates:  Square-edge EPS foam plastic board with a [1/2-inch (25.4 mm)] [1-inch (2.5 mm)] [1-1/2-inches (3.8 mm)] thickness and a nominal density of 1 pcf.  [Delete this section if no sheathing is used in the project or if the same foam is going to be used in conjunction with open framing.]]

- [Extruded Polystyrene Insulation Board (XPS):

    - Open Framing: XPS board has a nominal density of 1.5 lbs per cubic foot, a flame-spread of 25 or less and a smoke developed rating not exceeding 450 and must comply with ASTM C578, as Type IV, V, or X boards.  Boards installed without sheathing over open framing are [1-inch (2.5 mm)] [1-1/2-inches (3.8 mm)] thick and are provided with 3/8-inch-high (9.5 mm) tongues with compatible grooves with horizontal joints.  All boards must be recognized in an approved, current third-party evaluation report.

    - Over Solid Substrates:  Square-edge XPS foam plastic board with a [1/2-inch (25.4 mm)] [1-inch (2.5 mm)] thickness and a nominal density of 1 pcf.] [Delete this section if no sheathing is used in the project or if the same foam is going to be used in conjunction with open framing.]]

- [Polyisocyanurate Foam Board:

    - Open Framing: A density of 2 lbs per cubic foot, a maximum flame-spread rating of 25 (75 when governed by the IRC) and a smoke-developed rating not exceeding 450, must comply with ASTM C1289 Type II,  [1-inches (2.5 mm)] [1-1/2-inches (3.8 mm)] thick, and it is limited to nonfire-rated construction.  All boards must be recognized in an approved, current third-party evaluation report.

    - Over Solid Substrates:  Square-edge foam plastic board with a [1/2-inch (25.4 mm)] [1-inch (2.5 mm)] thickness and a nominal density of 1 pcf.] [Delete this section if no sheathing is used in the project or if the same foam is going to be used in conjunction with open framing.]]

- Lath

- [Choose one or more of the following lath options and delete the other options.]

- [Woven-Wire Lath:   Nominal No. 17 gauge (0.058 inch), 1.5-inch opening, galvanized steel complying with ASTM C1032.]

- [Welded Wire:  Nominal No. 16 gauge (0.065 inch), 2-inch-by-2-inch opening, galvanized steel complying with ASTM C933.]

- [Expanded Lath: Nominal [2.5 lb/yd2] [3.4 lb/yd2] weight, galvanized steel complying with ASTM C847.]

- [Rib Lath: Nominal 3.4 lb/yd2 weight, galvanized steel complying with ASTM C847.  [For soffit use only.]]

- Sheathing

- [Sheathing is optional in the insulating system but required in the non-insulating system.  If sheathing will be used, then choose one of the following and delete the others.  If no sheathing will be used then delete this section.]

- [Gypsum Board:  Water-resistant treated core gypsum sheathing must comply with ASTM C79 or C1396.]

- [Gypsum Board:  Glass mat faced, water-resistant treated core gypsum sheathing must comply with ASTM C1177 and be recognized in an approved, current third-party evaluation report.]

- [Gypsum Board: Water-resistant exterior fiber-reinforced gypsum sheathing must comply with ASTM C1278 and be recognized in an approved, current third-party evaluation report.]

- [Fiberboard:  Minimum 1/2-inch-thick (12.7 mm), asphalt-impregnated fiberboard must comply with ASTM C208 as a regular density sheathing.]

- [Wood-based Structural Panels:  <insert thickness>-inch-thick [plywood] [OSB].  [Plywood must be exterior or Exposure 1 and comply with DOC PS-1 or UBC Standard 23-2, as applicable.] [OSB must be Exposure 1 and comply with DOC PS-2, or UBC Standard 23-3, as applicable.] [Wood-based structural panels must be a minimum 5/16-inch-thick (7.9 mm) plywood or OSB, for studs spaced 16 inches (406 mm) on center, and must be a minimum 3/8-inch-thick (9.5 mm) plywood or OSB for studs spaced 24 inches (610 mm) on center.  Insert the thickness and choose plywood or OSB references.]]

- Accessories

[Delete the accessories from this section as needed.]

- Caulking:  [Acrylic latex complying with ASTM C834] [Polyurethane, polyurethane modified, polysulfide, or silyl-terminated polyether elastomeric sealant complying with ASTM C920].

- Vapor Retarder:  A vapor retarder complying with local code must be provided.  [Provide a vapor retarder per local code, unless it’s omission is permitted under the exceptions in local code.]

- Flashing:  Flashing complying with UBC Section 1404.2, IBC Section 1405.3 or IRC Section R703.8, as applicable, must be provided.  Where membrane flashing is used, it must be a self-adhering, flexible rubberized asphalt and polyethylene material, 0.020 inch (0.5 mm) thick minimum, shingle-lapped with the water-resistive barrier.  Rigid flashings must be sloped towards the exterior, with an upturned leg on the interior side and at the ends, and must extend beyond the surface of the exterior wall.

- Fasteners:  Nails, staples, or screws used to rigidly secure lath and associated accessories shall be corrosion-resistant and meet the minimum requirements of Intertek CCRR-0467.

  - Zinc and Zinc-Coated (Galvanized) Accessories:  The following accessories shall be fabricated from [zinc] [or] [zinc-coated (galvanized) steel].

    - Corner Bead:  Minimum 26-gauge thick; expanded flanges shaped to permit complete embedding in plaster; minimum 2 in. wide; [Square-edge] [Bull-nose] style; use unless otherwise indicated.

    - Strip Mesh:  Metal Lath, 3.4 lb/yd2 expanded metal; 6 in. wide x 18 in. long.

    - Vent Screed:  Minimum 26-gauge thick; thickness governed by plaster thickness; minimum 4-inch (102 mm) width, double “V” profile, with perforated expanse between “V’s” of longest possible lengths.

    - Casing Bead:  Minimum 26-gauge thick; thickness governed by plaster thickness; maximum possible lengths; expanded metal flanges, with square edges.

    - Drip Screed:  Minimum 26-gauge thick, depth governed by plaster thickness, minimum 3-1/2 in. high flange, maximum possible lengths.

    - Control and Expansion Joints:  Depth to conform to plaster thickness; use maximum practical lengths.

      - Control Joints:  One-piece-type, folded pair of unperforated screeds in <insert shape: M-shaped, double V, etc.> configuration; removable protective tape on plaster face of control joint.

      - Expansion Joints: [Two-piece-type formed to produce a slip-joint.] [Pair of casing beads with sealant between.]

  - Plastic Trim:  Fabricated from high-impact PVC.

    - Corner Beads:  With perforated flanges.  [Square-edge] [Bull-nose] style; use unless otherwise indicated.

    - Casing Beads:  With perforated flanges in depth required to suit plaster bases indicated and flange length required to suit applications indicated. <insert style> style; use unless otherwise indicated.

    - Control Joints:  One-piece-type, folded pair of unperforated screeds in <insert shape: M-shaped, double V, etc.> configuration; removable protective tape on plaster face of control joint.

    - Expansion Joints:  [Two-piece-type formed to produce a slip-joint.] [Pair of casing beads with sealant between.]

- Crack Isolation System [Optional secondary fiberglass mesh reinforcement designed to reduce the likelihood of cracking.  See Omega Product’s Crack Isolation System data sheet for additional information.  Delete this section if not used in the project.]

- Mesh:  Alkali resistant, 4.5 oz., woven glass fiber fabrics specially manufactured by Omega Products International

- Base coat: [Crack Isolation Base] [DryBond] [StyroGlue DryBond] [StyroGlue] manufactured by Omega Products International.

- Foam Architectural details [Optional foam architectural details.  If using lath wrapped foam details, delete Foam Mesh and Foam Base coat options.  Delete section if foam architectural details not used on the project.]

- Foam:  EPS foam, 1.0 lb/ft2 minimum density.

- Foam Mesh:   Alkali resistant, [2.0 oz.] [4.5 oz.], woven glass fiber fabrics by Omega Products International

- Foam Base coat and Adhesive:  [DryBond] [StyroGlue DryBond] [StyroGlue] [FoamTek] manufactured by Omega Products International

- Primer

- [Primer is optional but is recommended when using acrylic-based finishes.  Delete this section if primer will not be used on the project.  The use of primer will increase the Diamond Wall standard warranty by three years.] [RapidPrime] [AkroFlex] primer manufactured by Omega Products International.

- Finishes

- [Choose one or more of the following finishes and delete the remaining options.]

- [ColorTek <insert finish name>:  Portland cement-based stucco finishes manufactured by Omega Products International [Application of ColorTek or other cementitious finish require the use of acrylic admixture or bonding agent.  Standard system warranty is 7 years.  See Omega Product’s System Warranties for additional information.]]

- [OmegaFlex <insert finish name>:  100% acrylic-based finish manufactured by Omega Products International [Standard system warranty is 10 years.  See Omega Product’s System Warranties for additional information.]]

- [AkroFlex <insert finish name>:  100% acrylic-based finish manufactured by Omega Products International [Standard system warranty is 10 years.  See Omega Product’s System Warranties for additional information.]]

- [AkroLastic <insert finish name>:  Elastomeric acrylic-based finishes manufactured by Omega Products International [Standard system warranty is 12 years.  See Omega Product’s System Warranties for additional information.]]

- [Travertino:  Portland cement-based sedimentary stone finish manufactured by Omega Products International [Standard system warranty is 7 years.  See Omega Product’s System Warranties for additional information.]]

- [AkroCoat: 100% acrylic paint manufactured by Omega Products International]

- [Elastomeric 44: 100% acrylic, elastomeric coating manufactured by Omega Products International]

- Color and Texture:  Color and finish texture shall be as selected by the Architect.

- Mixes

- Diamond Wall Pro Base Coat:  Mixing requirements are contained in the Diamond Wall Pro product data sheets by Omega Products International and Intertek CCRR-0467.

- Finishes:  Mixing and tinting instructions are contained in the appropriate product data sheets by Omega Products International

PART 3 - EXECUTION

- EXAMINATION

- Substrates:  [Delete this section if sheathing is not used in the project.]

    - Acceptable substrates must be securely fastened per applicable building code requirements.

    - Acceptable substrates and adjacent materials must be dry, clean, and sound.  Substrate’s surface must be flat, free of fins or planar irregularities greater than 1/4 inch in 10 feet (6mm in 3m).

    - [Ensure wood-based sheathing is properly gapped per APA guidelines.  [Delete if wood-based sheathing is not used in project]]

- Flashings:  All flashing around windows, at deck attachments, utility penetrations, roof lines, etc. and all kick-out flashing must be properly installed prior to application of Omega Diamond Wall Pro One Coat System.

- Unsatisfactory conditions shall be reported to the general contractor and/or builder and/or architect and/or owner.  Do not proceed until all unsatisfactory conditions have been corrected.

- PreparatioN

- Substrate:  Clean the substrate to which the Diamond Wall Pro One Coat System is to be applied, ensuring that there are no foreign materials present; including, but are not limited to, oil, dirt, dust form release agents, efflorescence, paint, wax, water repellants, moisture, frost, and or extended nails that may rupture the water-resistive barrier.

- Surrounding Areas:  Protect surfaces near the work of this section from damage, disfiguration, and overspray.  Mask off all dissimilar materials.

- Installation, General

- General Installation:  Refer to Intertek CCRR-0467 or the appropriate manufacturer’s product data sheet for additional installation requirements and recommendations.

- Installing Weather Protection

- Water-Resistive Barrier: Apply water-resistive barrier complying with Section 1404.2 of the IBC, Section R703.2 of the IRC, as applicable.

- Flashing:  Install flashing and trim per <insert local code>.  [Install flashing and trims properly to ensure moisture does not accumulate and can easily drain to the exterior.  All openings shall be properly flashed and designed to allow water to escape to the outside of the wall.  All penetrations shall be properly flashed and/or sealed using approved methods.  Walls should be designed to prevent bulk water from getting behind the stucco or running down the face of the stucco.  The bottom of the wall is required to have weep screed or another effective means to drain any water that may get behind the stucco.]

- Installing Foam Plastic Insulation Boards [Delete section if non-insulating system is only being used.]

- Install foam Insulation board over the water-resistive barrier prior to lath and using galvanized staples, roofing nails, or screws.  Stagger vertical butt joints at least one stud space from adjacent courses, and must occur directly over studs, except over solid backing.

- Installing Lath

- General:  The lath must be applied tightly over the foam plastic insulation board and fastened through the board and water-resistive barrier to the studs.  When end laps occur between supports, lace or wire tie the ends of the sheets with 0.0475-inch (1.2 mm) galvanized annealed steel wire.

- [Choose the option depending on the framing in the project]

- [Wood Studs:  Use No. 11 gauge galvanized roofing nails or No. 16 gauge corrosion-resistant staples spaced a maximum of 6 inches (152 mm) on center with a minimum 1-inch (25 mm) penetration into the wood studs.  Staples must have a minimum crown width of 7/16 inches (11.1 mm).  The wood species must have a minimum specific gravity of .42, such as Spruce-pine fir.  Care must be taken to avoid overdriving fasteners.

    - [Wood-based Sheathing:  When installed over wood-based sheathing and foam, the lath fastening shall be per Table 2 or Table 3 of Intertek CCRR-0467.]]

- [Steel Studs:  Use minimum No. 8, Type S, drywall screws with 1-inch-diameter (25 mm) washers or No. 8 screws having 3/8-inch-diameter (9.5 mm) pan heads, at 7 inches (178 mm) on center to all studs and track.  Screws must penetrate the studs a minimum of 1/2 inch (12.7 mm).]

- Soffits:  Use [3.4 lb/yd2 metal lath] [rib lath].  Metal lath fastening must comply with ASTM C926 or C1063 except the fastener length must be increased by the thickness of any substrate.  [Delete this section if soffits are not needed.]

- Installing Diamond PRO Wall Base Coat

- Application:  The exterior cementitious coating is applied by hand-troweling or machine-spraying, in one coat, to a minimum 1/2-inch (13 mm) thickness, unless noted otherwise.  Nominal thickness around penetrations is 1/2-inch (13 mm), backed by framing or blocking.  The lath must be embedded in the minimum coating thickness and therefore cannot be exposed.

- Leveling Coat: Over concrete or concrete block using no wire lath shall be a maximum of 1/2-inch (13 mm) thick.  [Bonding agents such as Omega Bond Crete manufactured by Omega Products International may be required.  Delete if Diamond Wall will not be applied directly to masonry or concrete walls.]

- Moist Curing:  Do not moist cure.

- Installing Crack Isolation System [Deleted this section if not used.]

- After brown coat has properly cured, apply base coat to wall and fully embed mesh into base coat.  See the appropriated Omega Product data sheet for mixing and application instructions.  A minimum two-inch (51 mm) overlap is required at all mesh joints.  Base coat surface shall be left suitable for the application of the finish.

- Installing Foam Architectural Details [Delete if not used.]

- Attaching Foam:  Apply foam shapes after Diamond Wall stucco has set.  Use foam adhesive to attach EPS foam shapes to Diamond Wall.  See base coat product data sheet for additional information.

- Coating Foam:  Apply foam base coat and embed mesh.  Overlap mesh onto Diamond Wall stucco a minimum of 1.5 inches (38mm).  [Delete this section if using pre-coated foam shapes.]

- Lath Wrapped Foam Details: Attach foam shape to wall using mechanical attachment prior to application of base coat.  Lath foam shape using approved metal lath and corner bead.  [Delete this section if using pre-coated or adhesively attached foam shapes.]

- Installing Finish Coat

- General:  Apply per manufacturer’s product data sheet.

- Verification:  Verify the desired color and texture match the approved sample and/or mockup prior to installation.

- CLEANING

- Cleaning:  Remove any and all materials used, overspray from adjacent surfaces, and all protective masking.

- Protection

- Protection:  Protect applied material from inclement weather until dry and prevent it from freezing for a minimum of 24 hours after set and/or until dry.  Refer to manufacturer’s Product data sheet for additional requirements.

END OF SECTION 09 24 00